## Sheet1
S.no | PUMP MODELS | Pump type | Frequency(Hz) | Pump Approval | Engine Approval | Flow(GPM) | Head(Bar) | Speed RPM | Unit price | Control panel model | Diesel tank US - gallons | Battery rating(Ah) | Battery Qty | Flow meter Size | Pressure releif valve | Waste cone -brand | Engine power(HP) | No of Phase | Voltage | Engine model | Engine type | Engine brand | Engine Make | Engine Origin | Tank brand | Approval | Battery brand | Control panel type | Control panel brand | Control panel Approval | MOC - Casing | MOC - shaft | MOC - impeller | Flange Size | Flange class (Suction, discharge) | Casing relief valve | Suction pressure gauge | Discharge pressure gauge | Air release valve | Air release valve brand | Flow meter brand | Pressure releif valve -brand | Waste cone | Terminal box | Diesel pump code | Diesel pump controller code | Diesel tank code | Battery code | Terminal box code | Flow meter code | Pressure relief Valve code | Waste cone code | Wilo model | Wilo Article number
1 | SFP 50-20 EM | End suction | 50/60 | UL | UL | 50 | 4.69 |  | 3525
2 | SFP 50-20 EM | End suction | 50/60 | UL | UL | 50 | 5 |  | 3525
3 | SFP 50-20 EM | End suction | 50/60 | UL | UL | 50 | 6 |  | 3525
4 | SFP 50-20 EM | End suction | 50/60 | UL | UL | 50 | 7.93 |  | 4146
5 | SFP 50-20 EM | End suction | 50/60 | UL | UL | 50 | 9 |  | 4146
6 | SFP 50-20 EM | End suction | 50/60 | UL | UL | 50 | 9.66 |  | 4146
7 | SFP 100-20 EM-2G | End suction | 50/60 | UL | UL | 100 | 4.96 |  | 4060.5
8 | SFP 100-20 EM-2G | End suction | 50/60 | UL | UL | 100 | 6 |  | 4060.5
9 | SFP 100-20 EM-2G | End suction | 50/60 | UL | UL | 100 | 6.34 |  | 4060.5
10 | SFP 100-26 EM-2G | End suction | 50/60 | UL | UL | 100 | 7.52 |  | 4635
11 | SFP 100-26 EM-2G | End suction | 50/60 | UL | UL | 100 | 8 |  | 4635
12 | SFP 100-26 EM-2G | End suction | 50/60 | UL | UL | 100 | 9 |  | 4635
13 | SFP 100-26 EM-2G | End suction | 50/60 | UL | UL | 100 | 9.24 |  | 5284.5
14 | SFP 150-20 EM-2G | End suction | 50/60 | UL | UL | 150 | 4.89 |  | 4060.5
15 | SFP 150-20 EM-2G | End suction | 50/60 | UL | UL | 150 | 5 |  | 4060.5
16 | SFP 150-20 EM-2G | End suction | 50/60 | UL | UL | 150 | 6 |  | 4294.5
17 | SFP 150-20 EM-2G | End suction | 50/60 | UL | UL | 150 | 6.2 |  | 4294.5
18 | SFP 150-42 EH | End suction | 50/60 | UL | UL | 150 | 7.38 |  | 5284.5
19 | SFP 150-42 EH | End suction | 50/60 | UL | UL | 150 | 8 |  | 5284.5
20 | SFP 150-42 EH | End suction | 50/60 | UL | UL | 150 | 9 |  | 5421
21 | SFP 150-42 EH | End suction | 50/60 | UL | UL | 150 | 9.31 |  | 5421
22 | SFP 200-65 EM-2G | End suction | 50/60 | UL | UL | 200 | 5.65 |  | 4630.5
23 | SFP 200-65 EM-2G | End suction | 50/60 | UL | UL | 200 | 6 |  | 5275.5
24 | SFP 200-65 EM-2G | End suction | 50/60 | UL | UL | 200 | 6.27 |  | 5521.5
25 | SFP 200-32 EM-2G | End suction | 50/60 | UL | UL | 200 | 7 |  | 6126
26 | SFP 200-32 EM-2G | End suction | 50/60 | UL | UL | 200 | 8 |  | 6300
27 | SFP 200-32 EM-2G | End suction | 50/60 | UL | UL | 200 | 9 |  | 6300
28 | SFP 200-32 EM-2G | End suction | 50/60 | UL | UL | 200 | 9.59 |  | 7179
29 | SFP 250-32 EM-2G | End suction | 50/60 | UL | UL | 250 | 6 |  | 6126
30 | SFP 250-32 EM-2G | End suction | 50/60 | UL | UL | 250 | 7 |  | 6300
31 | SFP 250-26 EM | End suction | 50/60 | UL | UL | 250 | 7.79 |  | 7093.5
32 | SFP 250-26 EM | End suction | 50/60 | UL | UL | 250 | 8 |  | 7093.5
33 | SFP 250-26 EM | End suction | 50/60 | UL | UL | 250 | 9 |  | 7900.5
34 | SFP 250-26 EM | End suction | 50/60 | UL | UL | 250 | 9.24 |  | 7900.5
35 | SFP 300-65 EM-2G | End suction | 50/60 | UL | UL | 300 | 5.17 |  | 5275.5
36 | SFP 300-65 EM-2G | End suction | 50/60 | UL | UL | 300 | 6 |  | 5521.5
37 | SFP 300-26 EM | End suction | 50/60 | UL | UL | 300 | 7.59 |  | 7093.5
38 | SFP 300-26 EM | End suction | 50/60 | UL | UL | 300 | 8 |  | 7900.5
39 | SFP 300-26 EM | End suction | 50/60 | UL | UL | 300 | 9.1 |  | 7900.5
40 | SFP 400-42 EM-2G | End suction | 50/60 | UL | UL | 400 | 5.45 |  | 7348.5
41 | SFP 400-42 EM-2G | End suction | 50/60 | UL | UL | 400 | 6 |  | 7348.5
42 | SFP 400-42 EM-2G | End suction | 50/60 | UL | UL | 400 | 7 |  | 8241
43 | SFP 400-42 EM-2G | End suction | 50/60 | UL | UL | 400 | 8 |  | 8241
44 | SFP 400-42 EM-2G | End suction | 50/60 | UL | UL | 400 | 9 |  | 8835
45 | SFP 400-42 EM-2G | End suction | 50/60 | UL | UL | 400 | 9.72 |  | 8835
46 | SFP 400-31 EM-2G | End suction | 50/60 | UL | UL | 400 | 10 |  | 11809.5
47 | SFP 400-31 EM-2G | End suction | 50/60 | UL | UL | 400 | 11 |  | 11809.5
48 | SFP 400-31 EM-2G | End suction | 50/60 | UL | UL | 400 | 12 |  | 12234
49 | SFP 400-31 EM-2G | End suction | 50/60 | UL | UL | 400 | 13 |  | 12234
50 | SFP 400-31 EM-2G | End suction | 50/60 | UL | UL | 400 | 14 |  | 14569.5
51 | SFP 400-31 EM-2G | End suction | 50/60 | UL | UL | 400 | 15.03 |  | 14569.5
52 | SFP 450-42 EM-2G | End suction | 50/60 | UL | UL | 450 | 5.38 |  | 7348.5
53 | SFP 450-42 EM-2G | End suction | 50/60 | UL | UL | 450 | 6 |  | 7348.5
54 | SFP 450-42 EM-2G | End suction | 50/60 | UL | UL | 450 | 7 |  | 8241
55 | SFP 450-42 EM-2G | End suction | 50/60 | UL | UL | 450 | 8 |  | 8835
56 | SFP 450-42 EM-2G | End suction | 50/60 | UL | UL | 450 | 9 |  | 10152
57 | SFP 450-42 EM-2G | End suction | 50/60 | UL | UL | 450 | 9.45 |  | 10152
58 | SFP 450-31 EM-2G | End suction | 50/60 | UL | UL | 450 | 10 |  | 11809.5
59 | SFP 450-31 EM-2G | End suction | 50/60 | UL | UL | 450 | 11 |  | 12234
60 | SFP 450-31 EM-2G | End suction | 50/60 | UL | UL | 450 | 12 |  | 12234
61 | SFP 450-31 EM-2G | End suction | 50/60 | UL | UL | 450 | 13 |  | 12234
62 | SFP 450-31 EM-2G | End suction | 50/60 | UL | UL | 450 | 14 |  | 14569.5
63 | SFP 450-31 EM-2G | End suction | 50/60 | UL | UL | 450 | 14.96 |  | 14569.5
64 | SFP 500-25 EM-2G | End suction | 50/60 | UL | UL | 500 | 5.72 |  | 7543.5
65 | SFP 500-25 EM-2G | End suction | 50/60 | UL | UL | 500 | 6 |  | 8410.5
66 | SFP 500-25 EM-2G | End suction | 50/60 | UL | UL | 500 | 7 |  | 8410.5
67 | SFP 500-25 EM-2G | End suction | 50/60 | UL | UL | 500 | 8 |  | 9006
68 | SFP 500-25 EM-2G | End suction | 50/60 | UL | UL | 500 | 9.37 |  | 10288.5
69 | SFP 500-31 EM-2G | End suction | 50/60 | UL | UL | 500 | 10 |  | 11809.5
70 | SFP 500-31 EM-2G | End suction | 50/60 | UL | UL | 500 | 11 |  | 12234
71 | SFP 500-31 EM-2G | End suction | 50/60 | UL | UL | 500 | 12 |  | 12234
72 | SFP 500-31 EM-2G | End suction | 50/60 | UL | UL | 500 | 13 |  | 14569.5
73 | SFP 500-31 EM-2G | End suction | 50/60 | UL | UL | 500 | 14 |  | 14569.5
74 | SFP 500-31 EM-2G | End suction | 50/60 | UL | UL | 500 | 14.96 |  | 14569.5
75 | SFP 750-26 EM | End suction | 50/60 | UL | UL | 750 | 7.03 |  | 10279.5
76 | SFP 750-26 EM | End suction | 50/60 | UL | UL | 750 | 8 |  | 10279.5
77 | SFP 750-26 EM | End suction | 50/60 | UL | UL | 750 | 8.76 |  | 10279.5
78 | SFP 750-32 EM | End suction | 50/60 | UL | UL | 750 | 9 |  | 13168.5
79 | SFP 750-32 EM | End suction | 50/60 | UL | UL | 750 | 10 |  | 13168.5
80 | SFP 750-32 EM | End suction | 50/60 | UL | UL | 750 | 11 |  | 13380
81 | SFP 750-32 EM | End suction | 50/60 | UL | UL | 750 | 12 |  | 13380
82 | SFP 750-32 EM | End suction | 50/60 | UL | UL | 750 | 13 |  | 19455
83 | SFP 750-32 EM | End suction | 50/60 | UL | UL | 750 | 14.28 |  | 19455
84 | SFP 1000-20 EM-2G | End suction | 50/60 | UL | UL | 1000 | 4.14 |  | 9498
85 | SFP 1000-20 EM-2G | End suction | 50/60 | UL | UL | 1000 | 5 |  | 10806
86 | SFP 1000-20 EM-2G | End suction | 50/60 | UL | UL | 1000 | 5.38 |  | 11002.5
87 | SFP 1000-54 EM-2G | End suction | 50/60 | UL | UL | 1000 | 8.41 |  | 12148.5
88 | SFP 1000-54 EM-2G | End suction | 50/60 | UL | UL | 1000 | 9 |  | 14613
89 | SFP 1000-54 EM-2G | End suction | 50/60 | UL | UL | 1000 | 10 |  | 14613
90 | SFP 1000-54 EM-2G | End suction | 50/60 | UL | UL | 1000 | 11 |  | 14824.5
91 | SFP 1000-54 EM-2G | End suction | 50/60 | UL | UL | 1000 | 12 |  | 14824.5
92 | SFP 1000-54 EM-2G | End suction | 50/60 | UL | UL | 1000 | 13 |  | 20899.5
93 | SFP 1000-54 EM-2G | End suction | 50/60 | UL | UL | 1000 | 13.79 |  | 20899.5
94 | SFP 50-20 EM | End suction | 50/60 | UL/FM | UL/FM | 50 | 4.69 |  | 12693
95 | SFP 50-20 EM | End suction | 50/60 | UL/FM | UL/FM | 50 | 5 |  | 12693
96 | SFP 50-20 EM | End suction | 50/60 | UL/FM | UL/FM | 50 | 6 |  | 12693
97 | SFP 50-26 EM | End suction | 50/60 | UL/FM | UL/FM | 50 | 7.93 |  | 12693
98 | SFP 50-26 EM | End suction | 50/60 | UL/FM | UL/FM | 50 | 9 |  | 12693
99 | SFP 50-26 EM | End suction | 50/60 | UL/FM | UL/FM | 50 | 9.17 |  | 12693
100 | SFP 100-20 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 100 | 4.96 |  | 12777
101 | SFP 100-20 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 100 | 6 |  | 12777
102 | SFP 100-20 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 100 | 6.34 |  | 12777
103 | SFP 150-20 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 150 | 4.89 |  | 12777
104 | SFP 150-20 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 150 | 5 |  | 12777
105 | SFP 150-20 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 150 | 6 |  | 12777
106 | SFP 150-20 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 150 | 6.2 |  | 12777
107 | SFP 200-65 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 200 | 5.65 |  | 13032
108 | SFP 200-65 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 200 | 6 |  | 14230.5
109 | SFP 200-65 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 200 | 6.27 |  | 14230.5
110 | SFP 200-32 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 200 | 7 |  | 15079.5
111 | SFP 200-32 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 200 | 8 |  | 15079.5
112 | SFP 200-32 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 200 | 9 |  | 15079.5
113 | SFP 200-32 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 200 | 9.59 |  | 16482
114 | SFP 250-32 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 250 | 6 |  | 15079.5
115 | SFP 250-32 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 250 | 7 |  | 15079.5
116 | SFP 250-26 EM | End suction | 50/60 | UL/FM | UL/FM | 250 | 7.79 |  | 16312.5
117 | SFP 250-26 EM | End suction | 50/60 | UL/FM | UL/FM | 250 | 8 |  | 16312.5
118 | SFP 250-26 EM | End suction | 50/60 | UL/FM | UL/FM | 250 | 9 |  | 16312.5
119 | SFP 250-26 EM | End suction | 50/60 | UL/FM | UL/FM | 250 | 9.24 |  | 16312.5
120 | SFP 300-65 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 300 | 5.24 |  | 14230.5
121 | SFP 300-65 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 300 | 6 |  | 14230.5
122 | SFP 300-26 EM | End suction | 50/60 | UL/FM | UL/FM | 300 | 7.59 |  | 16312.5
123 | SFP 300-26 EM | End suction | 50/60 | UL/FM | UL/FM | 300 | 8 |  | 16312.5
124 | SFP 300-26 EM | End suction | 50/60 | UL/FM | UL/FM | 300 | 8.97 |  | 16312.5
125 | SFP 400-42 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 400 | 5.45 |  | 16651.5
126 | SFP 400-42 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 400 | 6 |  | 16651.5
127 | SFP 400-42 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 400 | 7 |  | 16651.5
128 | SFP 400-42 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 400 | 8 |  | 16651.5
129 | SFP 400-42 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 400 | 9 |  | 18223.5
130 | SFP 400-42 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 400 | 9.72 |  | 18223.5
131 | SFP 400-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 400 | 10 |  | 19923
132 | SFP 400-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 400 | 11 |  | 22300.5
133 | SFP 400-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 400 | 12 |  | 22300.5
134 | SFP 400-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 400 | 13 |  | 22300.5
135 | SFP 400-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 400 | 14 |  | 22300.5 | [18 empty] | GPD-12-220
136 | SFP 400-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 400 | 15.03 |  | 25402.5
137 | SFP 450-42 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 450 | 5.38 |  | 16651.5
138 | SFP 450-42 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 450 | 6 |  | 16651.5
139 | SFP 450-42 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 450 | 7 |  | 16651.5
140 | SFP 450-42 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 450 | 8 |  | 16651.5
141 | SFP 450-42 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 450 | 9 |  | 18223.5
142 | SFP 450-42 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 450 | 9.45 |  | 18223.5
143 | SFP 450-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 450 | 10 |  | 19923
144 | SFP 450-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 450 | 11 |  | 22300.5
145 | SFP 450-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 450 | 12 |  | 22300.5
146 | SFP 450-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 450 | 13 |  | 22300.5
147 | SFP 450-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 450 | 14 |  | 25402.5
148 | SFP 450-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 450 | 14.96 |  | 25402.5
149 | SFP 500-25 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 500 | 5.72 |  | 16821
150 | SFP 500-25 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 500 | 6 |  | 16821
151 | SFP 500-25 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 500 | 7 |  | 16821
152 | SFP 500-25 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 500 | 8 |  | 18351
153 | SFP 500-25 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 500 | 9.37 |  | 18351
154 | SFP 500-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 500 | 10 |  | 19923
155 | SFP 500-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 500 | 11 |  | 22300.5
156 | SFP 500-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 500 | 12 |  | 22300.5
157 | SFP 500-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 500 | 13 |  | 25402.5
158 | SFP 500-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 500 | 14 |  | 25402.5
159 | SFP 500-31 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 500 | 14.96 |  | 26251.5
160 | SFP 750-26 EM | End suction | 50/60 | UL/FM | UL/FM | 750 | 7.45 |  | 20559
161 | SFP 750-26 EM | End suction | 50/60 | UL/FM | UL/FM | 750 | 8 |  | 20559
162 | SFP 750-26 EM | End suction | 50/60 | UL/FM | UL/FM | 750 | 8.76 |  | 20559
163 | SFP 750-32 EM | End suction | 50/60 | UL/FM | UL/FM | 750 | 9 |  | 24000
164 | SFP 750-32 EM | End suction | 50/60 | UL/FM | UL/FM | 750 | 10 |  | 24000
165 | SFP 750-32 EM | End suction | 50/60 | UL/FM | UL/FM | 750 | 11 |  | 24850.5
166 | SFP 750-32 EM | End suction | 50/60 | UL/FM | UL/FM | 750 | 12 |  | 24850.5
167 | SFP 750-32 EM | End suction | 50/60 | UL/FM | UL/FM | 750 | 13 |  | 32751
168 | SFP 750-32 EM | End suction | 50/60 | UL/FM | UL/FM | 750 | 14.28 |  | 34152
169 | SFP 1000-20 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 1000 | 4.14 |  | 17298
170 | SFP 1000-20 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 1000 | 5 |  | 18861
171 | SFP 1000-20 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 1000 | 5.38 |  | 21282
172 | SFP 1000-54 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 1000 | 8.41 |  | 22428
173 | SFP 1000-54 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 1000 | 9 |  | 25359
174 | SFP 1000-54 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 1000 | 10 |  | 25359
175 | SFP 1000-54 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 1000 | 11 |  | 26379
176 | SFP 1000-54 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 1000 | 12 |  | 34195.5
177 | SFP 1000-54 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 1000 | 13 |  | 34195.5
178 | SFP 1000-54 EM-2G | End suction | 50/60 | UL/FM | UL/FM | 1000 | 13.79 |  | 35596.5
179 | SFP150-28SM | Splitcase | 50/60 | UL | UL | 150 | 6.96 |  | 20475
180 | SFP150-28SM | Splitcase | 50/60 | UL | UL | 150 | 8 |  | 20475
181 | SFP150-28SM | Splitcase | 50/60 | UL | UL | 150 | 9 |  | 20475
182 | SFP150-28SM | Splitcase | 50/60 | UL | UL | 150 | 10 |  | 20475
183 | SFP150-28SM | Splitcase | 50/60 | UL | UL | 150 | 11 |  | 21834
184 | SFP150-35SM | Splitcase | 50/60 | UL | UL | 150 | 12 |  | 23278.5
185 | SFP150-35SM | Splitcase | 50/60 | UL | UL | 150 | 13 |  | 25657.5
186 | SFP150-35SM | Splitcase | 50/60 | UL | UL | 150 | 14 |  | 25797
187 | SFP150-40SM | Splitcase | 50/60 | UL | UL | 150 | 15 |  | 42648
188 | SFP150-40SM | Splitcase | 50/60 | UL | UL | 150 | 16 |  | 42648
189 | SFP150-40SM | Splitcase | 50/60 | UL | UL | 150 | 17 |  | 42648
190 | SFP150-40SM | Splitcase | 50/60 | UL | UL | 150 | 18 |  | 44092.5
191 | SFP150-40SM | Splitcase | 50/60 | UL | UL | 150 | 19 |  | 44092.5
192 | SFP150-40SM | Splitcase | 50/60 | UL | UL | 150 | 19.93 |  | 44092.5
193 | SFP200-28SM | Splitcase | 50/60 | UL | UL | 200 | 6.96 |  | 20475
194 | SFP200-28SM | Splitcase | 50/60 | UL | UL | 200 | 8 |  | 20475
195 | SFP200-28SM | Splitcase | 50/60 | UL | UL | 200 | 9 |  | 20475
196 | SFP200-28SM | Splitcase | 50/60 | UL | UL | 200 | 10 |  | 20475
197 | SFP200-28SM | Splitcase | 50/60 | UL | UL | 200 | 11 |  | 21834
198 | SFP200-35SM | Splitcase | 50/60 | UL | UL | 200 | 12 |  | 23278.5
199 | SFP200-35SM | Splitcase | 50/60 | UL | UL | 200 | 13 |  | 25657.5
200 | SFP200-35SM | Splitcase | 50/60 | UL | UL | 200 | 14 |  | 25797
201 | SFP200-40SM | Splitcase | 50/60 | UL | UL | 200 | 15 |  | 34683
202 | SFP200-40SM | Splitcase | 50/60 | UL | UL | 200 | 16 |  | 42648
203 | SFP200-40SM | Splitcase | 50/60 | UL | UL | 200 | 17 |  | 42648
204 | SFP200-40SM | Splitcase | 50/60 | UL | UL | 200 | 18 |  | 44092.5
205 | SFP200-40SM | Splitcase | 50/60 | UL | UL | 200 | 19 |  | 44092.5
206 | SFP200-40SM | Splitcase | 50/60 | UL | UL | 200 | 19.93 |  | 44092.5
207 | SFP250-28SM | Splitcase | 50/60 | UL | UL | 250 | 6.96 |  | 20475
208 | SFP250-28SM | Splitcase | 50/60 | UL | UL | 250 | 8 |  | 20475
209 | SFP250-28SM | Splitcase | 50/60 | UL | UL | 250 | 9 |  | 20475
210 | SFP250-28SM | Splitcase | 50/60 | UL | UL | 250 | 10 |  | 21834
211 | SFP250-28SM | Splitcase | 50/60 | UL | UL | 250 | 11 |  | 24213
212 | SFP250-35SM | Splitcase | 50/60 | UL | UL | 250 | 12 |  | 25657.5
213 | SFP250-35SM | Splitcase | 50/60 | UL | UL | 250 | 13 |  | 25657.5
214 | SFP250-35SM | Splitcase | 50/60 | UL | UL | 250 | 14 |  | 25797
215 | SFP250-40SM | Splitcase | 50/60 | UL | UL | 250 | 15 |  | 42648
216 | SFP250-40SM | Splitcase | 50/60 | UL | UL | 250 | 16 |  | 42648
217 | SFP250-40SM | Splitcase | 50/60 | UL | UL | 250 | 17 |  | 42648
218 | SFP250-40SM | Splitcase | 50/60 | UL | UL | 250 | 18 |  | 44092.5
219 | SFP250-40SM | Splitcase | 50/60 | UL | UL | 250 | 19 |  | 44092.5
220 | SFP250-40SM | Splitcase | 50/60 | UL | UL | 250 | 19.86 |  | 47575.5
221 | SFP300-28SM | Splitcase | 50/60 | UL | UL | 300 | 6.9 |  | 20475
222 | SFP300-28SM | Splitcase | 50/60 | UL | UL | 300 | 8 |  | 20475
223 | SFP300-28SM | Splitcase | 50/60 | UL | UL | 300 | 9 |  | 20475
224 | SFP300-28SM | Splitcase | 50/60 | UL | UL | 300 | 10 |  | 21834
225 | SFP300-28SM | Splitcase | 50/60 | UL | UL | 300 | 11 |  | 24213
226 | SFP300-35SM | Splitcase | 50/60 | UL | UL | 300 | 12 |  | 25657.5
227 | SFP300-35SM | Splitcase | 50/60 | UL | UL | 300 | 13 |  | 25657.5
228 | SFP300-35SM | Splitcase | 50/60 | UL | UL | 300 | 14 |  | 28813.5
229 | SFP300-40SM | Splitcase | 50/60 | UL | UL | 300 | 15 |  | 42648
230 | SFP300-40SM | Splitcase | 50/60 | UL | UL | 300 | 16 |  | 42648
231 | SFP300-40SM | Splitcase | 50/60 | UL | UL | 300 | 17 |  | 42648
232 | SFP300-40SM | Splitcase | 50/60 | UL | UL | 300 | 18 |  | 44092.5
233 | SFP300-40SM | Splitcase | 50/60 | UL | UL | 300 | 19 |  | 44092.5
234 | SFP300-40SM | Splitcase | 50/60 | UL | UL | 300 | 19.72 |  | 47575.5
235 | SFP400-28SM | Splitcase | 50/60 | UL | UL | 400 | 6.76 |  | 20475
236 | SFP400-28SM | Splitcase | 50/60 | UL | UL | 400 | 7 |  | 20475
237 | SFP400-28SM | Splitcase | 50/60 | UL | UL | 400 | 8 |  | 20475
238 | SFP400-28SM | Splitcase | 50/60 | UL | UL | 400 | 9 |  | 21834
239 | SFP400-28SM | Splitcase | 50/60 | UL | UL | 400 | 10 |  | 24213
240 | SFP400-28SM | Splitcase | 50/60 | UL | UL | 400 | 11 |  | 24213
241 | SFP400-35SM | Splitcase | 50/60 | UL | UL | 400 | 12 |  | 25657.5
242 | SFP400-35SM | Splitcase | 50/60 | UL | UL | 400 | 13 |  | 28672.5
243 | SFP400-35SM | Splitcase | 50/60 | UL | UL | 400 | 14 |  | 28813.5
244 | SFP400-40SM | Splitcase | 50/60 | UL | UL | 400 | 15 |  | 42648
245 | SFP400-40SM | Splitcase | 50/60 | UL | UL | 400 | 16 |  | 42648
246 | SFP400-40SM | Splitcase | 50/60 | UL | UL | 400 | 17 |  | 42648
247 | SFP400-40SM | Splitcase | 50/60 | UL | UL | 400 | 18 |  | 44092.5
248 | SFP400-40SM | Splitcase | 50/60 | UL | UL | 400 | 19 |  | 47575.5
249 | SFP400-40SM | Splitcase | 50/60 | UL | UL | 400 | 19.65 |  | 47575.5
250 | SFP450-28SM | Splitcase | 50/60 | UL | UL | 450 | 6.62 |  | 20475
251 | SFP450-28SM | Splitcase | 50/60 | UL | UL | 450 | 7 |  | 20475
252 | SFP450-28SM | Splitcase | 50/60 | UL | UL | 450 | 8 |  | 21834
253 | SFP450-28SM | Splitcase | 50/60 | UL | UL | 450 | 9 |  | 21834
254 | SFP450-28SM | Splitcase | 50/60 | UL | UL | 450 | 10 |  | 24213
255 | SFP450-28SM | Splitcase | 50/60 | UL | UL | 450 | 11 |  | 24213
256 | SFP450-37SM-2G | Splitcase | 50/60 | UL | UL | 450 | 15.17 |  | 33748.5
257 | SFP450-37SM-2G | Splitcase | 50/60 | UL | UL | 450 | 16 |  | 41713.5
258 | SFP450-37SM-2G | Splitcase | 50/60 | UL | UL | 450 | 17 |  | 41713.5
259 | SFP450-37SM-2G | Splitcase | 50/60 | UL | UL | 450 | 18 |  | 41713.5
260 | SFP450-37SM-2G | Splitcase | 50/60 | UL | UL | 450 | 19 |  | 43158
261 | SFP450-37SM-2G | Splitcase | 50/60 | UL | UL | 450 | 20.2 |  | 46641
262 | SFP500-28SM | Splitcase | 50/60 | UL | UL | 500 | 6.48 |  | 20475
263 | SFP500-28SM | Splitcase | 50/60 | UL | UL | 500 | 7 |  | 20475
264 | SFP500-28SM | Splitcase | 50/60 | UL | UL | 500 | 8 |  | 21834
265 | SFP500-28SM | Splitcase | 50/60 | UL | UL | 500 | 9 |  | 24213
266 | SFP500-28SM | Splitcase | 50/60 | UL | UL | 500 | 10 |  | 24213
267 | SFP500-28SM | Splitcase | 50/60 | UL | UL | 500 | 11 |  | 24213
268 | SFP500-31SM | Splitcase | 50/60 | UL | UL | 500 | 12 |  | 28036.5
269 | SFP500-37SM-2G | Splitcase | 50/60 | UL | UL | 500 | 14.89 |  | 33748.5
270 | SFP500-37SM-2G | Splitcase | 50/60 | UL | UL | 500 | 15 |  | 33748.5
271 | SFP500-37SM-2G | Splitcase | 50/60 | UL | UL | 500 | 16 |  | 41713.5
272 | SFP500-37SM-2G | Splitcase | 50/60 | UL | UL | 500 | 17 |  | 41713.5
273 | SFP500-37SM-2G | Splitcase | 50/60 | UL | UL | 500 | 18 |  | 41713.5
274 | SFP500-37SM-2G | Splitcase | 50/60 | UL | UL | 500 | 19 |  | 43158
275 | SFP500-37SM-2G | Splitcase | 50/60 | UL | UL | 500 | 20 |  | 43243.5
276 | SFP500-37SM-2G | Splitcase | 50/60 | UL | UL | 500 | 20.41 |  | 46641
277 | SFP750-32SM | Splitcase | 50/60 | UL | UL | 750 | 7.65 |  | 26209.5
278 | SFP750-32SM | Splitcase | 50/60 | UL | UL | 750 | 8 |  | 26209.5
279 | SFP750-31SM | Splitcase | 50/60 | UL | UL | 750 | 9.03 |  | 25062
280 | SFP750-31SM | Splitcase | 50/60 | UL | UL | 750 | 10 |  | 28036.5
281 | SFP750-31SM | Splitcase | 50/60 | UL | UL | 750 | 11 |  | 29013
282 | SFP750-31SM | Splitcase | 50/60 | UL | UL | 750 | 12 |  | 29013
283 | SFP750-32SM | Splitcase | 50/60 | UL | UL | 750 | 13 |  | 38019
284 | SFP750-32SM | Splitcase | 50/60 | UL | UL | 750 | 14 |  | 38145
285 | SFP750-37SM-2G | Splitcase | 50/60 | UL | UL | 750 | 15 |  | 41713.5
286 | SFP750-37SM-2G | Splitcase | 50/60 | UL | UL | 750 | 16 |  | 43158
287 | SFP750-37SM-2G | Splitcase | 50/60 | UL | UL | 750 | 17 |  | 43158
288 | SFP750-37SM-2G | Splitcase | 50/60 | UL | UL | 750 | 18 |  | 46641
289 | SFP750-37SM-2G | Splitcase | 50/60 | UL | UL | 750 | 19.03 |  | 46641
290 | SFP1000-30SM | Splitcase | 50/60 | UL | UL | 1000 | 6.76 |  | 27654
291 | SFP1000-30SM | Splitcase | 50/60 | UL | UL | 1000 | 7 |  | 31392
292 | SFP1000-30SM | Splitcase | 50/60 | UL | UL | 1000 | 8 |  | 31476
293 | SFP1000-31SM | Splitcase | 50/60 | UL | UL | 1000 | 9.24 |  | 28927.5
294 | SFP1000-31SM | Splitcase | 50/60 | UL | UL | 1000 | 10 |  | 29013
295 | SFP1000-31SM | Splitcase | 50/60 | UL | UL | 1000 | 11 |  | 29013
296 | SFP1000-31SM | Splitcase | 50/60 | UL | UL | 1000 | 12 |  | 36913.5
297 | SFP1000-36SM-2G | Splitcase | 50/60 | UL | UL | 1000 | 13 |  | 42138
298 | SFP1000-40SM | Splitcase | 50/60 | UL | UL | 1000 | 14 |  | 44092.5
299 | SFP1000-36SM-2G | Splitcase | 50/60 | UL | UL | 1000 | 15 |  | 45622.5
300 | SFP1000-36SM-2G | Splitcase | 50/60 | UL | UL | 1000 | 16 |  | 45706.5
301 | SFP1000-36SM-2G | Splitcase | 50/60 | UL | UL | 1000 | 17 |  | 45706.5
302 | SFP1000-40SM | Splitcase | 50/60 | UL | UL | 1000 | 18 |  | 47661
303 | SFP1000-40SM | Splitcase | 50/60 | UL | UL | 1000 | 18.75 |  | 75187.5
304 | SFP1250-30SM | Splitcase | 50/60 | UL | UL | 1250 | 6.48 |  | 30541.5
305 | SFP1250-30SM | Splitcase | 50/60 | UL | UL | 1250 | 7 |  | 31392
306 | SFP1250-30SM | Splitcase | 50/60 | UL | UL | 1250 | 8 |  | 39378
307 | SFP1250-29SM | Splitcase | 50/60 | UL | UL | 1250 | 9.45 |  | 38782.5
308 | SFP1250-29SM | Splitcase | 50/60 | UL | UL | 1250 | 10 |  | 38782.5
309 | SFP1250-29SM | Splitcase | 50/60 | UL | UL | 1250 | 11 |  | 40227
310 | SFP1250-29SM | Splitcase | 50/60 | UL | UL | 1250 | 12.21 |  | 43710
311 | SFP1250-36SM-2G | Splitcase | 50/60 | UL | UL | 1250 | 13 |  | 45495
312 | SFP1250-36SM-2G | Splitcase | 50/60 | UL | UL | 1250 | 14 |  | 45622.5
313 | SFP1250-36SM-2G | Splitcase | 50/60 | UL | UL | 1250 | 15 |  | 45622.5
314 | SFP1250-36SM-2G | Splitcase | 50/60 | UL | UL | 1250 | 16 |  | 45706.5
315 | SFP1250-36SM-2G | Splitcase | 50/60 | UL | UL | 1250 | 17 |  | 73191
316 | SFP1250-36SM-2G | Splitcase | 50/60 | UL | UL | 1250 | 18 |  | 89629.5
317 | SFP1250-36SM-2G | Splitcase | 50/60 | UL | UL | 1250 | 19 |  | 89629.5
318 | SFP1500-30SM | Splitcase | 50/60 | UL | UL | 1500 | 6.07 |  | 30541.5
319 | SFP1500-30SM | Splitcase | 50/60 | UL | UL | 1500 | 7 |  | 39378
320 | SFP1500-30SM | Splitcase | 50/60 | UL | UL | 1500 | 8 |  | 39378
321 | SFP1500-30SM | Splitcase | 50/60 | UL | UL | 1500 | 9 |  | 39378
322 | SFP1500-30SM | Splitcase | 50/60 | UL | UL | 1500 | 10 |  | 44305.5
323 | SFP1500-36SM | Splitcase | 50/60 | UL | UL | 1500 | 11 |  | 44985
324 | SFP1500-36SM | Splitcase | 50/60 | UL | UL | 1500 | 12 |  | 44985
325 | SFP1500-36SM | Splitcase | 50/60 | UL | UL | 1500 | 13 |  | 45069
326 | SFP1500-36SM | Splitcase | 50/60 | UL | UL | 1500 | 14 |  | 72681
327 | SFP1500-36SM | Splitcase | 50/60 | UL | UL | 1500 | 15 |  | 89163
328 | SFP1500-36SM | Splitcase | 50/60 | UL | UL | 1500 | 16 |  | 89163
329 | SFP1500-61SL5-2G | Splitcase | 50/60 | UL | UL | 1500 | 6.83 |  | 76275
330 | SFP1500-61SL5-2G | Splitcase | 50/60 | UL | UL | 1500 | 7 |  | 76275
331 | SFP1500-61SL5-2G | Splitcase | 50/60 | UL | UL | 1500 | 8 |  | 76275
332 | SFP1500-61SL5-2G | Splitcase | 50/60 | UL | UL | 1500 | 9 |  | 76275
333 | SFP1500-61SL5-2G | Splitcase | 50/60 | UL | UL | 1500 | 10 |  | 76275
334 | SFP1500-61SL5-2G | Splitcase | 50/60 | UL | UL | 1500 | 11 |  | 76275
335 | SFP1500-61SL5-2G | Splitcase | 50/60 | UL | UL | 1500 | 11.31 |  | 81150
336 | SFP2000-29SM-2G | Splitcase | 50/60 | UL | UL | 2000 | 6.55 |  | 42381
337 | SFP2000-29SM-2G | Splitcase | 50/60 | UL | UL | 2000 | 7 |  | 43915.5
338 | SFP2000-29SM-2G | Splitcase | 50/60 | UL | UL | 2000 | 8 |  | 47616
339 | SFP2000-29SM-2G | Splitcase | 50/60 | UL | UL | 2000 | 9 |  | 47616
340 | SFP2000-29SM-2G | Splitcase | 50/60 | UL | UL | 2000 | 10 |  | 47706
341 | SFP2000-29SM-2G | Splitcase | 50/60 | UL | UL | 2000 | 10.2 |  | 76095
342 | SFP2000-61SL5-2G | Splitcase | 50/60 | UL | UL | 2000 | 6.48 |  | 76275
343 | SFP2000-61SL5-2G | Splitcase | 50/60 | UL | UL | 2000 | 7 |  | 76275
344 | SFP2000-61SL5-2G | Splitcase | 50/60 | UL | UL | 2000 | 8 |  | 76275
345 | SFP2000-61SL5-2G | Splitcase | 50/60 | UL | UL | 2000 | 9 |  | 76275
346 | SFP2000-61SL5-2G | Splitcase | 50/60 | UL | UL | 2000 | 10 |  | 81150
347 | SFP2000-61SL5-2G | Splitcase | 50/60 | UL | UL | 2000 | 11 |  | 81150
348 | SFP2000-61SL5-2G | Splitcase | 50/60 | UL | UL | 2000 | 11.45 |  | 81150
349 | SFP2000-61SL6-2G | Splitcase | 50/60 | UL | UL | 2000 | 11.93 |  | 81150
350 | SFP2500-29SM-2G | Splitcase | 50/60 | UL | UL | 2500 | 6.13 |  | 42381
351 | SFP2500-29SM-2G | Splitcase | 50/60 | UL | UL | 2500 | 7 |  | 43915.5
352 | SFP2500-29SM-2G | Splitcase | 50/60 | UL | UL | 2500 | 8 |  | 47616
353 | SFP2500-29SM-2G | Splitcase | 50/60 | UL | UL | 2500 | 9 |  | 47706
354 | SFP2500-29SM-2G | Splitcase | 50/60 | UL | UL | 2500 | 9.5 |  | 76095
355 | SFP2500-61SL5-2G | Splitcase | 50/60 | UL | UL | 2500 | 6.14 |  | 76275
356 | SFP2500-61SL5-2G | Splitcase | 50/60 | UL | UL | 2500 | 7 |  | 76275
357 | SFP2500-61SL5-2G | Splitcase | 50/60 | UL | UL | 2500 | 8 |  | 76275
358 | SFP2500-61SL5-2G | Splitcase | 50/60 | UL | UL | 2500 | 9 |  | 81150
359 | SFP2500-61SL5-2G | Splitcase | 50/60 | UL | UL | 2500 | 10 |  | 81150
360 | SFP2500-61SL5-2G | Splitcase | 50/60 | UL | UL | 2500 | 11.17 |  | 81150
361 | SFP2500-61SL6-2G | Splitcase | 50/60 | UL | UL | 2500 | 11.72 |  | 87829.5
362 | SFP3000-61SL5-2G | Splitcase | 50/60 | UL | UL | 3000 | 7.17 |  | 76275
363 | SFP3000-61SL5-2G | Splitcase | 50/60 | UL | UL | 3000 | 8 |  | 76275
364 | SFP3000-61SL5-2G | Splitcase | 50/60 | UL | UL | 3000 | 9 |  | 81150
365 | SFP3000-61SL5-2G | Splitcase | 50/60 | UL | UL | 3000 | 10 |  | 81150
366 | SFP3000-61SL5-2G | Splitcase | 50/60 | UL | UL | 3000 | 10.82 |  | 87829.5
367 | SFP3000-61SL6-2G | Splitcase | 50/60 | UL | UL | 3000 | 11.31 |  | 87829.5
368 | SFP3500-61SL5-2G | Splitcase | 50/60 | UL | UL | 3500 | 7.1 |  | 76275
369 | SFP3500-61SL5-2G | Splitcase | 50/60 | UL | UL | 3500 | 8 |  | 81150
370 | SFP3500-61SL5-2G | Splitcase | 50/60 | UL | UL | 3500 | 9 |  | 81150
371 | SFP3500-61SL5-2G | Splitcase | 50/60 | UL | UL | 3500 | 10 |  | 87829.5
372 | SFP3500-61SL5-2G | Splitcase | 50/60 | UL | UL | 3500 | 10.2 |  | 87829.5
373 | SFP3500-61SL6-2G | Splitcase | 50/60 | UL | UL | 3500 | 10.76 |  | 87829.5
374 | SFP150-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 150 | 6.96 |  | 20559
375 | SFP150-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 150 | 8 |  | 20559
376 | SFP150-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 150 | 9 |  | 20559
377 | SFP150-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 150 | 10 |  | 20559
378 | SFP150-28SM | Splitcase | 50/60 | UL/FM | FM | 150 | 11 |  | 21961.5
379 | SFP150-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 150 | 12 |  | 23406
380 | SFP150-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 150 | 13 |  | 25741.5
381 | SFP150-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 150 | 14 |  | 25882.5
382 | SFP150-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 150 | 15 |  | 42733.5
383 | SFP150-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 150 | 16 |  | 42733.5
384 | SFP150-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 150 | 17 |  | 42733.5
385 | SFP150-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 150 | 18 |  | 44178
386 | SFP150-40SM | Splitcase | 50/60 | UL/FM | UL | 150 | 19 |  | 44178
387 | SFP150-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 150 | 19.93 |  | 44178
388 | SFP200-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 200 | 6.96 |  | 20559
389 | SFP200-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 200 | 8 |  | 20559
390 | SFP200-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 200 | 9 |  | 20559
391 | SFP200-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 200 | 10 |  | 20559
392 | SFP200-28SM | Splitcase | 50/60 | UL/FM | FM | 200 | 11 |  | 21961.5
393 | SFP200-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 200 | 12 |  | 23406
394 | SFP200-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 200 | 13 |  | 25741.5
395 | SFP200-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 200 | 14 |  | 25882.5
396 | SFP200-40SM | Splitcase | 50/60 | UL/FM | FM | 200 | 15 |  | 34768.5
397 | SFP200-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 200 | 16 |  | 42733.5
398 | SFP200-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 200 | 17 |  | 42733.5
399 | SFP200-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 200 | 18 |  | 44178
400 | SFP200-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 200 | 19 |  | 44178
401 | SFP200-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 200 | 19.93 |  | 44178
402 | SFP250-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 250 | 6.96 |  | 20559
403 | SFP250-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 250 | 8 |  | 20559
404 | SFP250-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 250 | 9 |  | 20559
405 | SFP250-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 250 | 10 |  | 21961.5
406 | SFP250-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 250 | 11 |  | 24297
407 | SFP250-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 250 | 12 |  | 25741.5
408 | SFP250-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 250 | 13 |  | 25741.5
409 | SFP250-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 250 | 14 |  | 25882.5
410 | SFP250-40SM | Splitcase | 50/60 | UL/FM | FM | 250 | 15 |  | 42733.5
411 | SFP250-40SM | Splitcase | 50/60 | UL/FM | FM | 250 | 16 |  | 42733.5
412 | SFP250-40SM | Splitcase | 50/60 | UL/FM | FM | 250 | 17 |  | 42733.5
413 | SFP250-40SM | Splitcase | 50/60 | UL/FM | FM | 250 | 18 |  | 44178
414 | SFP250-40SM | Splitcase | 50/60 | UL/FM | FM | 250 | 19 |  | 44178
415 | SFP250-40SM | Splitcase | 50/60 | UL/FM | FM | 250 | 19.86 |  | 47661
416 | SFP300-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 300 | 6.9 |  | 20559
417 | SFP300-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 300 | 8 |  | 20559
418 | SFP300-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 300 | 9 |  | 20559
419 | SFP300-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 300 | 10 |  | 21961.5
420 | SFP300-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 300 | 11 |  | 24297
421 | SFP300-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 300 | 12 |  | 25741.5
422 | SFP300-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 300 | 13 |  | 25741.5
423 | SFP300-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 300 | 14 |  | 28897.5
424 | SFP300-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 300 | 15 |  | 42733.5
425 | SFP300-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 300 | 16 |  | 42733.5
426 | SFP300-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 300 | 17 |  | 42733.5
427 | SFP300-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 300 | 18 |  | 44178
428 | SFP300-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 300 | 19 |  | 44178
429 | SFP300-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 300 | 19.72 |  | 47661
430 | SFP400-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 6.76 |  | 20559
431 | SFP400-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 7 |  | 20559
432 | SFP400-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 8 |  | 20559
433 | SFP400-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 9 |  | 21961.5
434 | SFP400-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 10 |  | 24297
435 | SFP400-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 11 |  | 24297
436 | SFP400-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 12 |  | 25741.5
437 | SFP400-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 13 |  | 28758
438 | SFP400-35SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 14 |  | 28897.5
439 | SFP400-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 15 |  | 42733.5
440 | SFP400-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 16 |  | 42733.5
441 | SFP400-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 17 |  | 42733.5
442 | SFP400-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 18 |  | 44178
443 | SFP400-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 19 |  | 47661
444 | SFP400-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 400 | 19.65 |  | 47661
445 | SFP450-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 450 | 6.62 |  | 20559
446 | SFP450-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 450 | 7 |  | 20559
447 | SFP450-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 450 | 8 |  | 21961.5
448 | SFP450-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 450 | 9 |  | 21961.5
449 | SFP450-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 450 | 10 |  | 24297
450 | SFP450-28SM | Splitcase | 50/60 | UL/FM | FM | 450 | 11 |  | 24297
451 | SFP450-37SM-2G | Splitcase | 50/60 | UL/FM | FM | 450 | 15.17 |  | 33834
452 | SFP450-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 450 | 16 |  | 41799
453 | SFP450-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 450 | 17 |  | 41799
454 | SFP450-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 450 | 18 |  | 41799
455 | SFP450-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 450 | 19 |  | 43243.5
456 | SFP450-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 450 | 20.2 |  | 46726.5
457 | SFP500-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 500 | 6.48 |  | 20559
458 | SFP500-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 500 | 7 |  | 20559
459 | SFP500-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 500 | 8 |  | 21961.5
460 | SFP500-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 500 | 9 |  | 24297
461 | SFP500-28SM | Splitcase | 50/60 | UL/FM | UL/FM | 500 | 10 |  | 24297
462 | SFP500-28SM | Splitcase | 50/60 | UL/FM | FM | 500 | 11 |  | 24297
463 | SFP500-31SM | Splitcase | 50/60 | UL/FM | UL/FM | 500 | 12 |  | 28120.5
464 | SFP500-37SM-2G | Splitcase | 50/60 | UL/FM | FM | 500 | 14.89 |  | 33834
465 | SFP500-37SM-2G | Splitcase | 50/60 | UL/FM | FM | 500 | 15 |  | 33834
466 | SFP500-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 500 | 16 |  | 41799
467 | SFP500-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 500 | 17 |  | 41799
468 | SFP500-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 500 | 18 |  | 41799
469 | SFP500-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 500 | 19 |  | 43243.5
470 | SFP500-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 500 | 20 |  | 43243.5
471 | SFP500-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 500 | 20.41 |  | 46726.5
472 | SFP750-32SM | Splitcase | 50/60 | UL/FM | UL/FM | 750 | 7.65 |  | 26293.5
473 | SFP750-32SM | Splitcase | 50/60 | UL/FM | UL/FM | 750 | 8 |  | 26293.5
474 | SFP750-31SM | Splitcase | 50/60 | UL/FM | UL/FM | 750 | 9.03 |  | 25147.5
475 | SFP750-31SM | Splitcase | 50/60 | UL/FM | UL/FM | 750 | 10 |  | 28120.5
476 | SFP750-31SM | Splitcase | 50/60 | UL/FM | FM | 750 | 11 |  | 29013
477 | SFP750-31SM | Splitcase | 50/60 | UL/FM | FM | 750 | 12 |  | 29013
478 | SFP750-32SM | Splitcase | 50/60 | UL/FM | UL/FM | 750 | 13 |  | 38103
479 | SFP750-32SM | Splitcase | 50/60 | UL/FM | UL/FM | 750 | 14 |  | 38230.5
480 | SFP750-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 750 | 15 |  | 41799
481 | SFP750-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 750 | 16 |  | 43243.5
482 | SFP750-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 750 | 17 |  | 43243.5
483 | SFP750-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 750 | 18 |  | 46726.5
484 | SFP750-37SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 750 | 19.03 |  | 46726.5
485 | SFP1000-30SM | Splitcase | 50/60 | UL/FM | UL/FM | 1000 | 6.76 |  | 27738
486 | SFP1000-30SM | Splitcase | 50/60 | UL/FM | UL/FM | 1000 | 7 |  | 31476
487 | SFP1000-30SM | Splitcase | 50/60 | UL/FM | FM | 1000 | 8 |  | 31476
488 | SFP1000-31SM | Splitcase | 50/60 | UL/FM | UL/FM | 1000 | 9.24 |  | 29013
489 | SFP1000-31SM | Splitcase | 50/60 | UL/FM | FM | 1000 | 10 |  | 29013
490 | SFP1000-31SM | Splitcase | 50/60 | UL/FM | FM | 1000 | 11 |  | 29013
491 | SFP1000-31SM | Splitcase | 50/60 | UL/FM | UL/FM | 1000 | 12 |  | 36999
492 | SFP1000-36SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 1000 | 13 |  | 42223.5
493 | SFP1000-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 1000 | 14 |  | 44178
494 | SFP1000-36SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 1000 | 15 |  | 45706.5
495 | SFP1000-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 1000 | 16 |  | 47661
496 | SFP1000-36SM-2G | Splitcase | 50/60 | UL/FM | FM | 1000 | 17 |  | 45706.5
497 | SFP1000-40SM | Splitcase | 50/60 | UL/FM | FM | 1000 | 18 |  | 47661
498 | SFP1000-40SM | Splitcase | 50/60 | UL/FM | UL/FM | 1000 | 18.75 |  | 75271.5
499 | SFP1250-30SM | Splitcase | 50/60 | UL/FM | UL/FM | 1250 | 6.48 |  | 30627
500 | SFP1250-30SM | Splitcase | 50/60 | UL/FM | UL/FM | 1250 | 7 |  | 31476
501 | SFP1250-30SM | Splitcase | 50/60 | UL/FM | UL/FM | 1250 | 8 |  | 39462
502 | SFP1250-29SM | Splitcase | 50/60 | UL/FM | UL/FM | 1250 | 9.45 |  | 38868
503 | SFP1250-29SM | Splitcase | 50/60 | UL/FM | UL/FM | 1250 | 10 |  | 38868
504 | SFP1250-29SM | Splitcase | 50/60 | UL/FM | UL/FM | 1250 | 11 |  | 40312.5
505 | SFP1250-29SM | Splitcase | 50/60 | UL/FM | UL/FM | 1250 | 12.21 |  | 43795.5
506 | SFP1250-36SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 1250 | 13 |  | 45579
507 | SFP1250-36SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 1250 | 14 |  | 45706.5
508 | SFP1250-36SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 1250 | 15 |  | 45706.5
509 | SFP1250-36SM-2G | Splitcase | 50/60 | UL/FM | FM | 1250 | 16 |  | 45706.5
510 | SFP1250-36SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 1250 | 17 |  | 73233
511 | SFP1500-30SM | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 6.07 |  | 30627
512 | SFP1500-30SM | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 7 |  | 39462
513 | SFP1500-30SM | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 8 |  | 39462
514 | SFP1500-30SM | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 9 |  | 39462
515 | SFP1500-30SM | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 10 |  | 44389.5
516 | SFP1500-36SM | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 11 |  | 45069
517 | SFP1500-36SM | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 12 |  | 45069
518 | SFP1500-36SM | Splitcase | 50/60 | UL/FM | FM | 1500 | 13 |  | 45069
519 | SFP1500-36SM | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 14 |  | 72723
520 | SFP1500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 6.83 |  | 76456.5
521 | SFP1500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 7 |  | 76456.5
522 | SFP1500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 8 |  | 76456.5
523 | SFP1500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 9 |  | 76456.5
524 | SFP1500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 10 |  | 76456.5
525 | SFP1500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 11 |  | 76456.5
526 | SFP1500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 1500 | 11.31 |  | 81420
527 | SFP2000-29SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2000 | 6.55 |  | 42471
528 | SFP2000-29SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2000 | 7 |  | 44005.5
529 | SFP2000-29SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2000 | 8 |  | 47706
530 | SFP2000-29SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2000 | 9 |  | 47706
531 | SFP2000-29SM-2G | Splitcase | 50/60 | UL/FM | FM | 2000 | 10 |  | 47706
532 | SFP2000-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2000 | 6.48 |  | 76456.5
533 | SFP2000-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2000 | 7 |  | 76456.5
534 | SFP2000-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2000 | 8 |  | 76456.5
535 | SFP2000-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2000 | 9 |  | 76456.5
536 | SFP2000-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2000 | 10 |  | 81420
537 | SFP2000-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2000 | 11 |  | 81420
538 | SFP2000-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2000 | 11.45 |  | 81420
539 | SFP2000-61SL6-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2000 | 11.93 |  | 81420
540 | SFP2500-29SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2500 | 6.13 |  | 42471
541 | SFP2500-29SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2500 | 7 |  | 44005.5
542 | SFP2500-29SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2500 | 8 |  | 47706
543 | SFP2500-29SM-2G | Splitcase | 50/60 | UL/FM | FM | 2500 | 9 |  | 47706
544 | SFP2500-29SM-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2500 | 9.3 |  | 76185
545 | SFP2500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2500 | 6.21 |  | 76456.5
546 | SFP2500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2500 | 7 |  | 76456.5
547 | SFP2500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2500 | 8 |  | 76456.5
548 | SFP2500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2500 | 9 |  | 81420
549 | SFP2500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2500 | 10 |  | 81420
550 | SFP2500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2500 | 11.17 |  | 81420
551 | SFP2500-61SL6-2G | Splitcase | 50/60 | UL/FM | UL/FM | 2500 | 11.72 |  | 88009.5
552 | SFP3000-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 3000 | 7.24 |  | 76456.5
553 | SFP3000-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 3000 | 8 |  | 76456.5
554 | SFP3000-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 3000 | 9 |  | 81420
555 | SFP3000-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 3000 | 10 |  | 81420
556 | SFP3000-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 3000 | 10.82 |  | 88009.5
557 | SFP3000-61SL6-2G | Splitcase | 50/60 | UL/FM | UL/FM | 3000 | 11.31 |  | 88009.5
558 | SFP3500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 3500 | 8.14 |  | 81420
559 | SFP3500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 3500 | 9 |  | 81420
560 | SFP3500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 3500 | 10 |  | 88009.5
561 | SFP3500-61SL5-2G | Splitcase | 50/60 | UL/FM | UL/FM | 3500 | 10.2 |  | 88009.5
562 | SFP3500-61SL6-2G | Splitcase | 50/60 | UL/FM | UL/FM | 3500 | 10.76 |  | 88009.5